## Complete Data
Model | BES-H2 | BES-H3 | BES-H4
Performance
Battery Quantity | 2 | 3 | 4
Rated Capacity [kWh] | 10,24 | 15,36 | 20,48
Usable Capacity [kWh] | 9,21 | 13,81 | 18,41
DC-Rated Voltage [V] | 204,8 | 307,2 | 409,6
Operating Voltage Range [V] | 160~233,6 | 240~350,4 | 320~467,2
Rated Charging/Discharging Power [kW] | 5,12 | 7,68 | 10,24
Rated Charging/Discharging Current [A] | 25
Max. Charging/Discharging Current [A] | 50
Max. Depth of Discharge (DOD) | 90%
General Data
Charging/Discharging Temperature Range [℃] | -10 ~ 50 / -20 ~ 50
Best Storage Temperature [℃] | -30 ~ 60
Relative Humidity | ≤95%, Non-condensing
Operating Altitude [m] | ≤4000 (Derating above 2000)
Weight [kg] | 146,5 | 211,4 | 276,6
Dimensions (W*H*D) [mm] | 600 × 1240 × 265 | 600 × 1760 × 265 | 600 × 2280 × 265
Ingress Protection (IP) Rating | IP65
Installation | Floor Installation
Cooling | Natural Convection
Battery Technology | Lithium Iron Phosphate (LiFePO4)
Display | SOC, Operating Status
Communication | CAN
Battery Cell Warranty | 10 Years (up to 80% of nominal usable battery capacity)
Certification | IEC 60730; EN IEC 62619; EN IEC 62477-1; EN IEC 61000-6-3:2021; EN IEC 61000-6-1/2/4 :2019; UN38.3; CB; CE

## Brochure Data
| BES-H2 | BES-H3 | BES-H4
Battery Technology | Lithium Iron Phosphate (LiFePO4)
Battery Quantity | 2 | 3 | 4
Rated Capacity [kWh] | 10,24 | 15,36 | 20,48
Usable Capacity [kWh] | 9,21 | 13,81 | 18,41
Rated Charging/Discharging Power [kW] | 5,12 | 7,68 | 10,24
DC-Rated Voltage [V] | 204,8 | 307,2 | 409,6
Operating Voltage Range [V] | 160~233,6 | 240~350,4 | 320~467,2
Dimensions (W × H × D) [mm] | 600 × 1240 × 265 | 600 × 1760 × 265 | 600 × 2280 × 265
Weight [kg] | 146,5 | 211,4 | 276,6
Charging/Discharging Temperature Range [℃] | -10 ~ 50 / -20 ~ 50
Ingress Protection (IP) Rating | IP65
Battery Cell Warranty | 10 Years (up to 80% of nominal usable battery capacity)
Certification | IEC 60730; EN IEC 62619; EN IEC 62477-1; EN IEC 61000-6-3:2021; EN IEC 61000-6-1/2/4 :2019; UN38.3; CB; CE